250/260 SERIES VALVES BIDDING SPECIFICATIONS

Note: These specifications were current at the time of publication but are subject to change at any time without notice. Please confirm the accuracy of these specifications with the manufacturer and/or distributor prior to installation.

The 1" 250 or 260 Series valve shall be a globe configuration and constructed of durable engineering plastic material. The valve cap shall be constructed of glass-filled Zytel(R) for stability under pressure. The diaphragm shall be of single-piece rubber construction to retain flexibility and provide maximum sealing throughout its area. The diaphragm assembly shall form a solid-piece component. All parts shall be serviceable without removing the valve from the line.

The valve shall have a forward-flow design and an external manual downstream bleed/flush. The 250 Series valve shall have manual flow control with a hand-operated, rising-type flow-control stem with a control wheel/handle. The 260 Series non-flow-control models shall be an available option. Friction loss at 40 GPM shall not exceed 9.5 PSI and the burst pressure safety rating shall be 750 PSI.

An effluent flow-control knob (250 Series models only) and BSP threads shall be available options.

Electric Models The valve shall be a normally closed configuration with 18" solenoid lead wires that attach to a removable 24V a.c., 50/60 cycle solenoid with a waterproof coil. The valve shall have a self-cleaning, stainless-steel metering pin to protect bleed ports and to purge contaminants without use of a filter screen.

Normally Open Hydraulic Models The valve shall have a normally open diaphragm chamber that shall be isolated from the water supply and shall be operated by in-line filtered water from the controller.

Pin-Type Hydraulic Models The valve shall have a normally closed diaphragm chamber. Supply water is metered from the inlet through the orifice plate. The controller selector valve shall block the discharge from the control tube for normally closed operation.

The valve shall be developed, manufactured, qualified and released in the USA. The valve, model number _________________________, shall be manufactured by The Toro Company, Irrigation Division, El Paso, Texas, USA.

END OF SECTION