252 SERIES VALVES BIDDING SPECIFICATIONS

Note: These specifications were current at the time of publication but are subject to change at any time without notice. Please confirm the accuracy of these specifications with the manufacturer and/or distributor prior to installation.

The [1" / 1-1/2" / 2"] 252 Series valve shall be of globe/angle configuration with a female-threaded inlet and outlet. The valve cap shall be constructed of glass-filled Zytel(R) for stability under pressure. The 1-1/2" and 2" valves shall have a stainless-steel valve seat for maximum durability. The diaphragm shall be of single-piece rubber construction to retain flexibility and provide maximum sealing throughout its area. The valve shall have a fabric-reinforced diaphragm on 1-1/2" and 2" models and a rubber diaphragm on 1" models. The diaphragm assembly shall form a solid-piece component.

The valve shall have a forward-flow design and an external manual downstream bleed/flush. The valve shall have manual flow control with a hand-operated, rising-type flow-control stem with a control wheel/handle. For 1" models, friction loss at 40 GPM shall not exceed 7.5 PSI on electric, angle valves and 9.5 on electric, globe valves. For 1-1/2" models, friction loss at 120 GPM shall not exceed 11.0 PSI on hydraulic, angle valves; 13.5 PSI on hydraulic, globe valves; 9.0 PSI on electric, angle valves; and 15.0 PSI on electric, globe valves. For 2" models, friction loss at 180 GPM shall not exceed 6.0 PSI on hydraulic, angle valves; 11.0 PSI on hydraulic, globe valves; 7.0 PSI on electric, angle valves; and 11.0 PSI on electric, globe valves. The burst pressure safety rating shall be 750 PSI.

An effluent flow-control knob and BSP threads shall be available options.

Electric Models The valve shall be normally closed by internal water pressure. A [18"/24"] solenoid lead wire shall be attached to a removable 24V a.c., 50/60 Hz solenoid with a waterproof coil. The valve shall have a self-cleaning, stainless-steel metering pin to protect bleed ports and purge contaminants.

Pressure-Regulating Models The pressure regulator shall be a manually operated, locking type and shall regulate precisely over a 15-125 PSI range. The regulator shall maintain the set pressure within 3 PSI (with a minimum 10 PSI differential between inlet and outlet). The valve shall contain a built-in Schrader-type valve fitting for attaching a pressure gauge. The valve shall have a removable, self-flushing, 120-mesh, stainless-steel filter screen.

Normally Open Hydraulic Models The normally open valve diaphragm chamber shall be isolated from the water supply and shall be operated by inline-filtered water from the controller. Quarter-inch control tubing shall enter the valve at the hydraulic adapter assembly.

Pin-Type Hydraulic Models The valve shall have a normally closed diaphragm chamber. Supply water is metered from the inlet through the orifice plate. The controller selector valve shall block the discharge from the controller tube for normally closed operation.

Contamination-Resistant Models The valve shall have a removable, self-flushing, 120-mesh, stainless-steel filter screen.The valve shall be developed, manufactured, qualified and released in the USA.

The valve, model number __________________________, shall be manufactured by The Toro Company, Irrigation Division, El Paso, Texas, USA.

END OF SECTION